Identify hospital equipment and operations that require water for continued operations. Consideration should be given to water usage per each shift, and to whether the gallons per day are potable (P), non potable (N) or deionized (D).

|  |  |  |
| --- | --- | --- |
| **Equipment/Operations** | **Typical gallons per day (gpd)** | **Minimal /Emergency need gpd** |
| 1. Sterilization Equipment |  |  |
| 1. X-ray Processing |  |  |
| 1. CT Scanners |  |  |
| 1. Laboratory Tests |  |  |
| 1. Catheterization Labs |  |  |
| 1. Endoscopy |  |  |
| 1. Pharmacy |  |  |
| 1. Sinks/Tubs/Showers |  |  |
| 1. Heating |  |  |
| 1. Ventilation |  |  |
| 1. Air Conditioning |  |  |
| 1. Cafeteria/Food Service Use |  |  |
| 1. Toilets |  |  |
| 1. Dialysis |  |  |
| 1. Medical Air Compressors |  |  |
| 1. Liquid Ring Vacuum Pumps |  |  |
| 1. Operating Room |  |  |
| 1. MRI Units |  |  |
| 1. Fire Suppression Systems |  |  |
| 1. Laundry |  |  |
| 1. Landscaping |  |  |